| S206A KEYLOCK SWITCH. |
| --- |
| S1096; KEYLOCK SWITCH. |
| DESCRIPTIONS: - Zinc alloy die cast housing and cylinder. - Stainless steel capped bezel. - Bright chrome plated standard. - 4 disc tumbler mechanism. - Brass keys, nickel plated. - "L" dimension 13mm standard; other dimensions available upon request. - Dual-functioned Key Lock Switch. - Key may be withdrawn in one or both positions. - Silver plated contacts and terminals. - 2 position (off-on) 2 terminals. - Hex nut or speed clip mounted. - 20 combinations available. KEY-PULL FIGURES -Off Position -Indicates Key-Pull -Indicates No Key-Pull |  |

| Fig. No. | Lock Number | Pole | Positions | Terminals | Key Pulls | Turn |  |  | Type |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | S1096-1 | 1 | 2 | 2 | 1 | 90  | Off | On | SPST |
| 2 | S1096-2 | 1 | 2 | 2 | 2 | 90  | Off | On | SPST |