| S286A KEYLOCK SWITCH. |
| --- |
| DESCRIPTIONS: - Zinc alloy die cast housing and cylinder. - Bright chrome plated standard. - 5 disc tumbler mechanism. - Reversible double-bitted brass keys, nickel plated. - Silver plated contacts and terminals. - 2 position (off-on) 4 terminals. (2NO 2NC) - Hex nut or speed clip mounted. - 150 combinations available. KEY-PULL FIGURES -Off Position -Indicates Key-Pull -Indicates No Key-Pull |  |

| Fig. No. | Lock Number | Pole | Positions | Terminals | Key Pulls | Turn |  |  | Type |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | S286A-1 | 2 | 2 | 4 | 1 | 90  | Off | On | DPST |
| 2 | S286A-2 | 2 | 2 | 4 | 2 | 90  | Off | On | DPST |